## Cover
Whole of System Plan
Assumptions book
2020-01-09
Reliance Restricted

## Change Log
Change Log
Version History
Version Number | Date | Description
1 | 2019-11-29 | First release of draft WOSP modelling assumptions.
2 | 2020-01-09 | Badgingarra Solar Farm added to Wind & solar planting list. East Rockingham Resource Recovery Facility added to Existing plant params.

## Summary
Summary
Field | Value
Study start year | 2020-21
Study end year | 2039-40
Number of years | 20
Assumptions book dollars | Real 30 June 2019 AUD
Reporting dollars | Real 30 June 2020 AUD

## Nodal representation
Nodal diagram
The nodal diagram and nodal map on the right illustrate the nodal representation of the SWIS to be used in the WOSP
The nodes were chosen to capture significant potential network augmentations along with potential regions for generator development that may have distinctly different characteristics, parameters or costs.
Node definitions |  | Nodal diagram | Nodal map
Node | Full name
NC | North Country
MW | Mid West
NB | Neerabup
MN | Metro North
MT | Metro
MS | Metro South West
ME | Mid East
EC | East Country
EG | Eastern Goldfields
SW | South West
SE | South East

## Existing plant params
Existing plant params
[5 empty] | Source | AEMO Market Data | ETIU Foundation Market Parameters - Information Papers | 2020-21 AEMO Assignment of Capacity Credits | AEMO WEM Data Dashboard | AEMO WEM Data Dashboard | 2019-20 AEMO ISP | 2014-15 Margin Peak and Margin Off-Peak parameters |  | 2015-16 AEMO Generator emission factors | 2016-17 NGER | 2018 AEMO ISP
[5 empty] | URL | http://data.wa.aemo.com.au/#facilities | https://www.wa.gov.au/sites/default/files/2019-08/Information-Paper-Foundation-Market-Parameters.pdf | https://www.aemo.com.au/Electricity/Wholesale-Electricity-Market-WEM/Reserve-capacity-mechanism/Assignment-of-capacity-credits | https://www.aemo.com.au/Electricity/Wholesale-Electricity-Market-WEM/Data-dashboard#generation-facilities | https://www.aemo.com.au/Electricity/Wholesale-Electricity-Market-WEM/Data-dashboard#generation-facilities | Values are from NEM facilities of the same technology type. Biomass/landfill gas FOM from 2018 ISP, converted to real June 2019 AUD using CPI. | https://www.erawa.com.au/electricity/wholesale-electricity-market/ancillary-services-parameters/spinning-reserve-margin_peak-and-margin_off-peak/margin-peak-and-margin-off-peak-parameters-for-201415 |  | https://www.aemo.com.au/-/media/Files/Electricity/NEM/Planning_and_Forecasting/NTNDP/2016/Data_Sources/ACIL-ALLEN---AEMO-Emission-factors-20160511.xlsx | http://www.cleanenergyregulator.gov.au/NGER/National%20greenhouse%20and%20energy%20reporting%20data/electricity-sector-emissions-and-generation-data/electricity-sector-emissions-and-generation-data-2016-17 | Values are from NEM facilities of the same technology type
Facility code | Station name | Participant Group | Node | Fuel type | Plant type | Nameplate capacity (MW) | Loss factors - Southern Terminal reference node | Capacity credits | Ramp rate down (MW/min) | Ramp rate up (MW/min) | FOM ($/MW nameplate, Real June 2019 AUD) | VOM ($/MWh sent-out, Real June 2019 AUD) | Variable fuel transport cost ($/GJ) | Fugitive EI (t CO2-e/MWh as generated) | Combustion EI (t CO2-e/MWh as generated) | Auxiliary factor/self load (%)
ALCOA_WGP | Alcoa Wagerup Cogen | Alcoa | SW | Cogeneration | Cogeneration | 26 | 0.9638 | 26 | 3 | 3 | 10670 | -27.6161 | 0.4 | 0.055115 | 0.6 | 3%
ALINTA_PNJ_U1 | Alinta Pinjarra 1 | Alinta | SW | Natural gas | Cogeneration | 143 | 0.9554 | 137 | 9.4 | 9.4 | 10670 | -22.5328 | 0.4 | 0.055115 | 0.66 | 3%
ALINTA_PNJ_U2 | Alinta Pinjarra 2 | Alinta | SW | Natural gas | Cogeneration | 143 | 0.9554 | 137 | 9.4 | 9.4 | 10670 | -22.5328 | 0.4 | 0.055115 | 0.66 | 3%
ALINTA_WGP_GT | Alinta Wagerup 1 | Alinta | SW | Natural gas | OCGT | 195.152 | 0.9862 | 196 | 8 | 8 | 15130 | 2.7445 | 0.4 | 0.04776 | 0.65 | 1%
ALINTA_WGP_U2 | Alinta Wagerup 2 | Alinta | SW | Natural gas | OCGT | 210 | 0.9862 | 196 | 8 | 8 | 15130 | 2.7445 | 0.4 | 0.04776 | 0.65 | 1%
BW1_BLUEWATERS_G2 | Bluewaters 1 | Bluewaters | SW | Black coal | Black coal | 217 | 0.9782 | 217 | 2 | 2 | 54050 | 2.563 | 0 | 0.023718 | 0.89 | 8%
BW2_BLUEWATERS_G1 | Bluewaters 2 | Bluewaters | SW | Black coal | Black coal | 217 | 0.9782 | 217 | 2 | 2 | 54050 | 2.563 | 0 | 0.023125 | 0.87 | 8%
COCKBURN_CCG1 | Cockburn | Synergy | MS | Natural gas | CCGT | 249.7 | 1.0083 | 240 | 12 | 12 | 10670 | 4.4318 | 0.4 | 0.030889 | 0.39 | 3%
COLLIE_G1 | Collie | Synergy | SW | Black coal | Black coal | 318.3 | 0.9739 | 317.2 | 4 | 4 | 54050 | 1.2815 | 0 | 0.024379 | 0.9 | 8%
TESLA_PICTON_G1 | Harris Road | Tesla | SW | Distillate | Diesel engine | 9.9 | 0.97734 | 9.9 | 2 | 2 | 15130 | 2.9581 | 0.35 | 0.042984 | 0.83819 | 1%
KEMERTON_GT11 | Kemerton | Synergy | SW | Natural gas | OCGT | 155 | 0.9814 | 155 | 15 | 15 | 15130 | 2.7445 | 0.4 | 0.04776 | 0.67 | 1%
KEMERTON_GT12 | Kemerton | Synergy | SW | Natural gas | OCGT | 155 | 0.9814 | 155 | 15 | 15 | 15130 | 2.7445 | 0.4 | 0.04776 | 0.67 | 1%
KWINANA_GT2 | Kwinana LMS100 | Synergy | MS | Natural gas | OCGT | 103.2 | 1.0062 | 98.5 | 30 | 30 | 15130 | 7.3045 | 0.4 | 0.038208 | 0.54 | 1%
KWINANA_GT3 | Kwinana LMS100 | Synergy | MS | Natural gas | OCGT | 103.2 | 1.0062 | 99.2 | 30 | 30 | 15130 | 7.3045 | 0.4 | 0.038208 | 0.54 | 1%
PPP_KCP_EG1 | Kwinana Power Partners | Synergy | MS | Cogeneration | Cogeneration | 85.7 | 1.0077 | 80.4 | 1 | 1 | 10670 | 5.2114 | 0.4 | 0.037137 | 0.55 | 3%
PERTHENERGY_KWINANA_GT1 | Kwinana Swift OCGT | Perth Energy | MS | Natural gas | OCGT | 116 | 1.0017 | 109 | 6 | 6 | 15130 | 12.3664 | 0.4 | 0.050914 | 0.58 | 1%
MUJA_G5 | Muja C | Synergy | SW | Black Coal | Black coal | 195.8 | 0.9773 | 195 | 4 | 4 | 54050 | 5.1366 | 0 | 0.025734 | 0.92 | 8%
MUJA_G6 | Muja C | Synergy | SW | Black Coal | Black coal | 195.8 | 0.9773 | 193 | 4 | 4 | 54050 | 5.1366 | 0 | 0.025734 | 0.92 | 8%
MUJA_G7 | Muja D | Synergy | SW | Black Coal | Black coal | 212.6 | 0.9773 | 211 | 4 | 4 | 54050 | 4.8269 | 0 | 0.024955 | 0.92 | 8%
MUJA_G8 | Muja D | Synergy | SW | Black Coal | Black coal | 212.6 | 0.9773 | 211 | 4 | 4 | 54050 | 4.8269 | 0 | 0.024955 | 0.92 | 8%
NAMKKN_MERR_SG1 | Namarkkon Merredin | Merredin Energy | ME | Distillate | Diesel engine | 92.6 | 0.938 | 82 | 6 | 6 | 15130 | 5.2755 | 1.38 | 0.042768 | 1.07 | 1%
NEWGEN_KWINANA_CCG1 | Newgen Kwinana CCGT | Sumitomo | MS | Natural gas | CCGT | 335 | 0.9993 | 327.8 | 6 | 6 | 10670 | 2.563 | 0.4 | 0.030348 | 0.39 | 3%
NEWGEN_NEERABUP_GT1 | Newgen Neerabup OCGT | ERM | NB | Natural gas | OCGT | 342 | 1.0066 | 330.6 | 11 | 11 | 15130 | 2.7445 | 0.4 | 0.050914 | 0.62 | 1%
PRK_AG | Parkeston Power Station | GPPL | EG | Natural gas | OCGT | 68 | 1.1332 | 59.4 | 3 | 3 | 15130 | 5.2007 | 0.96 | 0.046219 | 0.58 | 1%
PINJAR_GT1 | Pinjar A B non-liquid | Synergy | NB | Natural gas | OCGT | 38.5 | 1.0139 | 30.7 | 8 | 8 | 15130 | 2.9581 | 0.4 | 0.065127 | 0.82 | 1%
PINJAR_GT2 | Pinjar A B liquid | Synergy | NB | Natural gas | OCGT | 38.5 | 1.0139 | 30.3 | 8 | 8 | 15130 | 2.9581 | 0.4 | 0.065127 | 0.82 | 1%
PINJAR_GT3 | Pinjar A B non-liquid | Synergy | NB | Natural gas | OCGT | 39.3 | 1.0139 | 37 | 8 | 8 | 15130 | 2.9581 | 0.4 | 0.065127 | 0.82 | 1%
PINJAR_GT4 | Pinjar A B liquid | Synergy | NB | Natural gas | OCGT | 39.3 | 1.0139 | 37 | 8 | 8 | 15130 | 2.9581 | 0.4 | 0.065127 | 0.82 | 1%
PINJAR_GT5 | Pinjar A B non-liquid | Synergy | NB | Natural gas | OCGT | 39.3 | 1.0139 | 37 | 8 | 8 | 15130 | 2.9581 | 0.4 | 0.065127 | 0.82 | 1%
PINJAR_GT7 | Pinjar A B liquid | Synergy | NB | Natural gas | OCGT | 39.3 | 1.0139 | 37 | 8 | 8 | 15130 | 2.9581 | 0.4 | 0.065127 | 0.82 | 1%
PINJAR_GT9 | Pinjar C | Synergy | NB | Natural gas | OCGT | 118.2 | 1.0139 | 111 | 10 | 10 | 15130 | 5.1366 | 0.4 | 0.0597 | 0.82 | 1%
PINJAR_GT10 | Pinjar C | Synergy | NB | Natural gas | OCGT | 118.2 | 1.0139 | 111 | 10 | 10 | 15130 | 5.1366 | 0.4 | 0.0597 | 0.82 | 1%
PINJAR_GT11 | Pinjar D | Synergy | NB | Natural gas | OCGT | 130 | 1.0139 | 124 | 10 | 10 | 15130 | 5.9803 | 0.4 | 0.057312 | 0.82 | 1%
STHRNCRS_EG | Southern Cross Energy | TransAlta | EG | Natural gas | OCGT | 23 | 1.1442 | 20 | 3 | 3 | 15130 | 2.7445 | 0.97 | 0.051581 | 0.55 | 1%
TESLA_GERALDTON_G1 | Tesla Geraldton | Tesla | NC | Distillate | Diesel engine | 9.9 | 0.97654 | 9.9 | 2 | 2 | 15130 | 2.9581 | 1 | 0.042984 | 0.83819 | 1%
TESLA_KEMERTON_G1 | Tesla Kemerton | Tesla | SW | Distillate | Diesel engine | 9.9 | 0.96398 | 9.9 | 2 | 2 | 15130 | 2.9581 | 1.38 | 0.042984 | 0.83819 | 1%
TESLA_NORTHAM_G1 | Tesla Northam | Tesla | ME | Distillate | Diesel engine | 9.9 | 1.0298 | 9.9 | 2 | 2 | 15130 | 2.9581 | 1.38 | 0.042984 | 0.83819 | 1%
TIWEST_COG1 | Tiwest Cogen | TiWest | MS | Cogeneration | Cogeneration | 42.1 | 1.0054 | 36 | 3 | 3 | 10670 | 2.5737 | 0.4 | 0.04891 | 0.63009 | 3%
BIOGAS01 | Biogas | CleanTech Energy | MT | Waste | OCGT | 2 | 1 | 1.551 | 1 | 0 | 131548 | 8.6714 | - | 0 | 0.04819 | 8%
HENDERSON_RENEWABLE_IG1 | Henderson | Waste Gas Resources | MT | Landfill gas | OCGT | 3 | 1 | 1.761 | 0.5 | 0 | 131548 | 8.6714 | - | 0 | 0.069552 | 8%
KALAMUNDA_SG | Kalamunda | Landfill Gas and Power | MT | Landfill gas | OCGT | 1.3 | 1 | 1.3 | 0.6 | 0.6 | 131548 | 8.6714 | - | 0 | 0.23 | 8%
RED_HILL | Red Hill | Landfill Gas and Power | MT | Landfill gas | OCGT | 3.64 | 1 | 2.868 | 0.6 | 0 | 131548 | 8.6714 | - | 0 | 0.06 | 8%
ROCKINGHAM | Rockingham | Perth Energy | MS | Landfill gas | OCGT | 4 | 1 | 2.286 | 0.3 | 0 | 131548 | 8.6714 | - | 0 | 0.05 | 8%
SOUTH_CARDUP | South Cardup | Perth Energy | MT | Landfill gas | OCGT | 4.158 | 1 | 3.009 | 0.3 | 0 | 131548 | 8.6714 | - | 0 | 0.06 | 8%
TAMALA_PARK | Tamala Park | Landfill Gas and Power | NB | Landfill gas | OCGT | 4.8 | 1 | 4.292 | 0.6 | 0 | 131548 | 8.6714 | - | 0 | 0.06 | 8%
PHOENIX_KWINANA_WTE_G1 | Phoenix Kwinana | Kwinana WTE Project Co | MS | Municipal waste | Steam turbine | 36 | 1.0044 | 33 | 6 | 6 | 131548 | 0 | - | 0 | 1.4425 | 8%
East Rockingham Resource Recovery Facility | East Rockingham Resource Recovery Facility | ACCIONA, HZI, John Laing | MS | Municipal waste | Steam turbine | 28.9 | 1.0044 | 26.5 | 4.8 | 4.8 | 131548 | 0 | - | 0 | 1.4425 | 8%
NORTHAM_SF_PV1 | Northam | Northam Solar Project Partnership | ME | Solar | Solar PV | 9.8 | 1.0373 | 2.568 | 1 | 0 | 26110 | 0 | - | 0 | 0 | 0%
Emu Downs Solar Farm | Emu Downs Solar Farm | APA | MW | Solar | Solar PV | 20 | 0.9985 | 4.12 | 2 | 0 | 26110 | 0 | - | 0 | 0 | 0%
GREENOUGH_RIVER_PV1 | Greenough River | GRSF Trust | NC | Solar | Solar PV | 10 | 0.9743 | 1.995 | 2 | 0 | 26110 | 0 | - | 0 | 0 | 0%
AMBRISOLAR_PV1 | Ambrisolar Solar Farm | Metro Power | ME | Solar | Solar PV | 0.96 | 1 | 0.27 | 0.2 | 0 | 26110 | 0 | - | 0 | 0 | 0%
GREENOUGH_RIVER_PV1_UPG_1 | Greenough River 2 | GRSF Trust | NC | Solar | Solar PV | 30 | 0.9743 | 7.91 | 6 | 0 | 26110 | 0 | - | 0 | 0 | 0%
MERSOLAR_PV1 | Merredin Solar Farm | Rizen | ME | Solar | Solar PV | 100 | 0.99 | 35.64 | 26.4 | 0 | 26110 | 0 | - | 0 | 0 | 0%
ALINTA_WWF | Walkaway | Alinta | NC | Wind | Wind | 89.1 | 0.9244 | 22.035 | 89 | 0 | 45820 | 0 | - | 0 | 0 | 0%
BADGINGARRA_WF1 | Badgingarra | Alinta | MW | Wind | Wind | 130 | 0.9985 | 36.428 | 20 | 0 | 45820 | 0 | - | 0 | 0 | 0%
BLAIRFOX_KARAKIN_WF1 | Karakin | Blair Flox | MW | Wind | Wind | 5 | 1.0054 | 0.736 | 5 | 0 | 45820 | 0 | - | 0 | 0 | 0%
BREMER_BAY_WF1 | Bremer Bay | Synergy | SE | Wind | Wind | 0.6 | 1.3752 | 0.19 | 2.4 | 0 | 45820 | 0 | - | 0 | 0 | 0%
DCWL_DENMARK_WF1 | Denmark | Denmark Community Windfarm | SE | Wind | Wind | 1.44 | 1.3682 | 0.414 | 0.2 | 0 | 45820 | 0 | - | 0 | 0 | 0%
EDWFMAN_WF1 | Emu Downs | APA | MW | Wind | Wind | 80 | 0.9985 | 22.19 | 2 | 0 | 45820 | 0 | - | 0 | 0 | 0%
GRASMERE_WF1 | Grasmere | AGWF Trust | SE | Wind | Wind | 13.8 | 0.99665 | 4.329 | 10 | 0 | 45820 | 0 | - | 0 | 0 | 0%
INVESTEC_COLLGAR_WF1 | Collgar | Collgar | ME | Wind | Wind | 206 | 0.9849 | 22.894 | 33 | 0 | 45820 | 0 | - | 0 | 0 | 0%
KALBARRI_WF1 | Kalbarri | Synergy | NC | Wind | Wind | 1.6 | 1 | 0.287 | 3.6 | 0 | 45820 | 0 | - | 0 | 0 | 0%
MWF_MUMBIDA_WF1 | Mumbida | Mumbida Wind Farm | NC | Wind | Wind | 55 | 0.9326 | 8.943 | 8 | 0 | 45820 | 0 | - | 0 | 0 | 0%
SKYFRM_MTBARKER_WF1 | Mt Barker | Mt.Barker Power Company | SE | Wind | Wind | 2.43 | 1 | 0.606 | 0.9 | 0 | 45820 | 0 | - | 0 | 0 | 0%
ALBANY_WF1 | Albany | Synergy | SE | Wind | Wind | 21.6 | 0.99665 | 6.434 | 86 | 0 | 45820 | 0 | - | 0 | 0 | 0%
WARRADARGE_WF1 | Warradarge | Synergy | MW | Wind | Wind | 180 | 0.975 | 36.124 | 27.9 | 0 | 45820 | 0 | - | 0 | 0 | 0%
YANDIN_WF1 | Yandin | Alinta | MW | Wind | Wind | 214.2 | 0.975 | 40.932 | 33.2 | 0 | 45820 | 0 | - | 0 | 0 | 0%
BLAIRFOX_BEROSRD_WF1 | Beros Road | Blair Fox | MW | Wind | Wind | 9.252 | 1 | 0 | 1.53 | 0 | 45820 | 0 | - | 0 | 0 | 0%
BLAIRFOX_WESTHILLS_WF3 | West Hills | Blair Fox | MW | Wind | Wind | 5 | 1.0054 | 0 | 5 | 0 | 45820 | 0 | - | 0 | 0 | 0%

## Thermal generator developments
Announced and suggested capacity developments
Based on public announcements. Further new entrants or retirements may be implemented based on simulation outcomes.
Technology Type | Maximum asset life
Black Coal | 50
OCGT | 40
Liquid | 35
Cogeneration | 40
Station | Tech | Age-based retirement date | Comments
MUJA_G5 | Black Coal | 2022-10-01 | https://www.mediastatements.wa.gov.au/Pages/McGowan/2019/08/Muja-Power-Station-in-Collie-to-be-scaled-back-from-2022.aspx
MUJA_G6 | Black Coal | 2024-10-01
MUJA_G7 | Black Coal | 2036-07-01 | Calculations based on asset life defined with reference to the current age of the asset.
MUJA_G8 | Black Coal | 2036-07-01
PINJAR AB | OCGT | 2030-07-01
TIWEST_COG1 | Cogeneration | 2030-07-01
PARKESTON POWER STATION | OCGT | 2036-07-01
SOUTHERN CROSS ENERGY | OCGT | 2036-07-01
PINJAR CD | OCGT | 2036-07-01
PERTH POWER PARTNERSHIP | Cogeneration | 2036-07-01
COLLIE POWER STATION | Black Coal | Outside study period
COCKBURN POWER STATION | Cogeneration | Outside study period
KEMERTON POWER STATION | OCGT | Outside study period
ALINTA PINJARRA COGEN | Cogeneration | Outside study period
TESLA_PICTON_G1 | Liquid | Outside study period
ALINTA WAGERUP GTs | OCGT | Outside study period
TESLA_GERALDTON_G1 | Liquid | Outside study period
TESLA_KEMERTON_G1 | Liquid | Outside study period
TESLA_NORTHAM_G1 | Liquid | Outside study period
NEWGEN KWINANA GTs | OCGT | Outside study period
NEWGEN NEERABUP GTs | OCGT | Outside study period
BLUEWATERS POWER STATION | Black Coal | Outside study period
PERTH ENERGY GTs | OCGT | Outside study period
KWINANA HEGT2 | OCGT | Outside study period
KWINANA HEGT3 | OCGT | Outside study period
MERREDIN ENERGY POWER STATION | OCGT | Outside study period
Station | Capacity (MW) | Tech | Commissioning
Kwinana Waste to Energy | 36 | Waste to energy | 2022-01-01

## Wind & solar planting list
List of existing wind and solar projects to be included in the modelling
List based on updated information provided through available market data and information
Assumed capacity factors based on historical data for existing projects. For new entrants, capacity factors are indicative and are assumed.
Facility code | Commissioning date | Project name | Capacity (MW) | Node | Technology | Capacity factor
GREENOUGH_RIVER_PV1 | Existing | Greenough River | 10 | NC | Tilted Plate PV | 25%
AMBRISOLAR_PV1 | Existing | Ambrisolar Solar Farm | 0.96 | ME | Single axis tracking PV | 30%
Emu Downs Solar Farm | Existing | Emu Downs Solar Farm | 20 | MW | Single axis tracking PV | 30%
Badgingarra Solar Farm | Existing | Badgingarra Solar Farm | 17.5 | MW | Single axis tracking PV | 30%
NORTHAM_SF_PV1 | Existing | Northam | 9.8 | ME | Single axis tracking PV | 30%
ALBANY_WF1 | Existing | Albany | 21.6 | SE | Wind turbine | 31%
BADGINGARRA_WF1 | Existing | Badgingarra | 130 | MW | Wind turbine | 46%
BREMER_BAY_WF1 | Existing | Bremer Bay | 0.6 | SE | Wind turbine | 31%
INVESTEC_COLLGAR_WF1 | Existing | Collgar | 206 | ME | Wind turbine | 37%
DCWL_DENMARK_WF1 | Existing | Denmark | 1.44 | SE | Wind turbine | 41%
EDWFMAN_WF1 | Existing | Emu Downs | 80 | MW | Wind turbine | 35%
GRASMERE_WF1 | Existing | Grasmere | 13.8 | SE | Wind turbine | 33%
KALBARRI_WF1 | Existing | Kalbarri | 1.6 | NC | Wind turbine | 41%
BLAIRFOX_KARAKIN_WF1 | Existing | Karakin | 5 | MW | Wind turbine | 35%
SKYFRM_MTBARKER_WF1 | Existing | Mt Barker | 2.43 | SE | Wind turbine | 41%
MWF_MUMBIDA_WF1 | Existing | Mumbida | 55 | NC | Wind turbine | 39%
ALINTA_WWF | Existing | Walkaway | 89.1 | NC | Wind turbine | 42%
BLAIRFOX_BEROSRD_WF1 | Existing | Beros Road | 9.252 | MW | Wind turbine | 46%
BLAIRFOX_WESTHILLS_WF3 | Existing | West Hills | 5 | MW | Wind turbine | 35%
GREENOUGH_RIVER_PV1_UPG_1 | 2020-07-01 | Greenough River 2 | 30 | NC | Single axis tracking PV | 30%
MERSOLAR_PV1 | 2020-07-01 | Merredin Solar Farm | 100 | ME | Single axis tracking PV | 30%
WARRADARGE_WF1 | 2020-07-01 | Warradarge | 180 | MW | Wind turbine | 46%
YANDIN_WF1 | 2020-07-01 | Yandin | 214.2 | MW | Wind turbine | 46%

## Maintenance & outages
Maintenance & forced outage statistics to be applied to all generators
Source: 2019 AEMO ISP input and assumptions workbook
Technology | Full outage rate | Partial outage rate | Full outage - mean time to repair (hrs) | Partial outage - mean time to repair (hrs) | Partial outage derating factor | Time on planned maintenance | Equivalent average days per year on planned maintenance | Comment
Black coal | 4.3% | 23.84% | 104 | 17 | 17.51% | 5.479% | 20 | Using Black Coal NSW profile
CCGT | 1.73% | 0.19% | 23 | 29 | 0.3652% | 5.479% | 20 | -
OCGT | 1.26% | 0.35% | 7 | 40 | 11.96% | 1.37% | 5 | -
Small OCGT (<150 MW) | 3.52% | 0.39% | 16 | 35 | 7.18% | 1.37% | 5 | -
Diesel | 3.52% | 0.39% | 16 | 35 | 7.18% | 1.644% | 6 | -
Cogeneration | 1.73% | 0.19% | 23 | 29 | 0.3652% | 5.479% | 20 | Using CCGT profile

## Fuel prices GSOO
Gas fuel costs for new contracts
Real June 2019 AUD
Sources: | Calculation of financial year prices based on CPI and AEMO GSOO Dec 2017:
Gas Statement of Opportunities - December 2017, AEMO. https://www.aemo.com.au/-/media/Files/Gas/National_Planning_and_Forecasting/WA_GSOO/2017/2017-WA-GSOO.pdf
Gas prices ($/GJ) |  | 2020-21 | 2021-22 | 2022-23 | 2023-24 | 2024-25 | 2025-26 | 2026-27 | 2027-28 | 2028-29 | 2029-30 | 2030-31 | 2031-32 | 2032-33 | 2033-34 | 2034-35 | 2035-36 | 2036-37 | 2037-38 | 2038-39 | 2039-40
| GSOO (High) | 9.2373 | 9.7749 | 10.164 | 10.4815 | 10.7734 | 11.0448 | 11.1984 | 11.4984 | 11.7909 | 11.9984 | 12.1593 | 12.2909 | 12.4021 | 12.4984 | 12.5833 | 12.6593 | 12.7281 | 12.7909 | 12.8486 | 12.9021
| GSOO (Base) | 5.7349 | 5.8424 | 6.1752 | 6.9791 | 7.6243 | 7.6499 | 7.8291 | 8.1291 | 8.4216 | 8.6291 | 8.7901 | 8.9216 | 9.0328 | 9.1291 | 9.2141 | 9.2901 | 9.3589 | 9.4216 | 9.4794 | 9.5328
| GSOO (Low) | 4.0963 | 4.0963 | 4.0963 | 4.0963 | 4.0963 | 4.0963 | 4.0963 | 4.0963 | 4.0963 | 4.0963 | 4.0963 | 4.0963 | 4.0963 | 4.0963 | 4.0963 | 4.0963 | 4.0963 | 4.0963 | 4.0963 | 4.0963

## Technology CAPEX
Capital costs for new technologies excluding connection costs
Real June 2019 AUD/MW
Source: | 2019 AEMO ISP Input and Assumptions workbook adjusted for WA inputs and pricing in recent developments.
Technology | WOSP scenario | Build Cost | 2020-21 | 2021-22 | 2022-23 | 2023-24 | 2024-25 | 2025-26 | 2026-27 | 2027-28 | 2028-29 | 2029-30 | 2030-31 | 2031-32 | 2032-33 | 2033-34 | 2034-35 | 2035-36 | 2036-37 | 2037-38 | 2038-39 | 2039-40
Battery - 2hrs | Groundhog Day | Expected | 1377600 | 1316043.1433 | 1261119.9945 | 1199550.1631 | 1128988.3888 | 1074121.6633 | 1034570.6719 | 1009938.0368 | 993648.7136 | 958383.5192 | 956378.5328 | 956378.5328 | 956378.5328 | 954373.5463 | 954373.5463 | 954373.5463 | 952368.5599 | 952368.5599 | 942258.4903 | 925977.566
Battery - 2hrs | Cast Away | Expected | 1377600 | 1316043.1433 | 1261119.9945 | 1199550.1631 | 1128988.3888 | 1074121.6633 | 1034570.6719 | 1009938.0368 | 993648.7136 | 958383.5192 | 956378.5328 | 956378.5328 | 956378.5328 | 954373.5463 | 954373.5463 | 954373.5463 | 952368.5599 | 952368.5599 | 942258.4903 | 925977.566
Battery - 2hrs | Double Bubble | Fast | 1306000 | 1262604.4304 | 1225589.9683 | 1190690.4214 | 1155790.8746 | 1090527.6376 | 1045002.7647 | 1018572.7337 | 1000419.9523 | 963443.4448 | 961461.0509 | 957488.0713 | 955505.6944 | 953523.3174 | 949550.3036 | 947567.9439 | 945585.5841 | 941612.5355 | 941612.5355 | 939630.1933
Battery - 2hrs | Techtopia | Fast | 1306000 | 1262604.4304 | 1225589.9683 | 1190690.4214 | 1155790.8746 | 1090527.6376 | 1045002.7647 | 1018572.7337 | 1000419.9523 | 963443.4448 | 961461.0509 | 957488.0713 | 955505.6944 | 953523.3174 | 949550.3036 | 947567.9439 | 945585.5841 | 941612.5355 | 941612.5355 | 939630.1933
Battery - 4hrs | Groundhog Day | Expected | 1967157.7746 | 1879257.042 | 1800828.9793 | 1712909.7193 | 1612150.3241 | 1533802.8317 | 1477325.5956 | 1442151.1767 | 1418890.6738 | 1368533.3848 | 1365670.3442 | 1365670.3442 | 1365670.3442 | 1362807.3037 | 1362807.3037 | 1362807.3037 | 1359944.2631 | 1359944.2631 | 1345507.4875 | 1322258.978
Battery - 4hrs | Cast Away | Expected | 1967157.7746 | 1879257.042 | 1800828.9793 | 1712909.7193 | 1612150.3241 | 1533802.8317 | 1477325.5956 | 1442151.1767 | 1418890.6738 | 1368533.3848 | 1365670.3442 | 1365670.3442 | 1365670.3442 | 1362807.3037 | 1362807.3037 | 1362807.3037 | 1359944.2631 | 1359944.2631 | 1345507.4875 | 1322258.978
Battery - 4hrs | Double Bubble | Fast | 1977208.4223 | 1917293.0156 | 1860462.1774 | 1803631.3392 | 1752950.7891 | 1655054.759 | 1588972.7178 | 1544505.1977 | 1524067.5108 | 1464182.7363 | 1461300.4868 | 1458418.2374 | 1452642.3236 | 1446866.4097 | 1443984.2057 | 1441102.0017 | 1435326.0418 | 1432443.861 | 1432443.861 | 1426667.8777
Battery - 4hrs | Techtopia | Fast | 1977208.4223 | 1917293.0156 | 1860462.1774 | 1803631.3392 | 1752950.7891 | 1655054.759 | 1588972.7178 | 1544505.1977 | 1524067.5108 | 1464182.7363 | 1461300.4868 | 1458418.2374 | 1452642.3236 | 1446866.4097 | 1443984.2057 | 1441102.0017 | 1435326.0418 | 1432443.861 | 1432443.861 | 1426667.8777
CCGT | Groundhog Day | Expected | 1550714.3363 | 1548272.2665 | 1545830.1966 | 1543388.1268 | 1540946.057 | 1538503.9872 | 1536061.9174 | 1533619.8475 | 1531177.7777 | 1528735.7079 | 1526293.6381 | 1523851.5683 | 1521409.4984 | 1518967.4286 | 1516525.3588 | 1514083.289 | 1511641.2191 | 1509199.1493 | 1506757.0795 | 1504315.0097
CCGT | Cast Away | Expected | 1550714.3363 | 1548272.2665 | 1545830.1966 | 1543388.1268 | 1540946.057 | 1538503.9872 | 1536061.9174 | 1533619.8475 | 1531177.7777 | 1528735.7079 | 1526293.6381 | 1523851.5683 | 1521409.4984 | 1518967.4286 | 1516525.3588 | 1514083.289 | 1511641.2191 | 1509199.1493 | 1506757.0795 | 1504315.0097
CCGT | Double Bubble | Fast | 1550714.3363 | 1548272.2665 | 1545830.1966 | 1543388.1268 | 1540946.057 | 1538503.9872 | 1536061.9174 | 1533619.8475 | 1531177.7777 | 1528735.7079 | 1526293.6381 | 1523851.5683 | 1521409.4984 | 1518967.4286 | 1516525.3588 | 1514083.289 | 1511641.2191 | 1509199.1493 | 1506757.0795 | 1504315.0097
CCGT | Techtopia | Fast | 1550714.3363 | 1548272.2665 | 1545830.1966 | 1543388.1268 | 1540946.057 | 1538503.9872 | 1536061.9174 | 1533619.8475 | 1531177.7777 | 1528735.7079 | 1526293.6381 | 1523851.5683 | 1521409.4984 | 1518967.4286 | 1516525.3588 | 1514083.289 | 1511641.2191 | 1509199.1493 | 1506757.0795 | 1504315.0097
OCGT | Groundhog Day | Expected | 1265847.7876 | 1264423.8868 | 1261572.8747 | 1260148.9775 | 1257297.9618 | 1255874.0683 | 1253023.0488 | 1251599.159 | 1250175.2691 | 1247324.2423 | 1245900.3562 | 1243049.3256 | 1241625.4432 | 1240201.5608 | 1237350.5228 | 1235926.6442 | 1233075.6023 | 1231651.7275 | 1230227.8526 | 1227376.8032
OCGT | Cast Away | Expected | 1265847.7876 | 1264423.8868 | 1261572.8747 | 1260148.9775 | 1257297.9618 | 1255874.0683 | 1253023.0488 | 1251599.159 | 1250175.2691 | 1247324.2423 | 1245900.3562 | 1243049.3256 | 1241625.4432 | 1240201.5608 | 1237350.5228 | 1235926.6442 | 1233075.6023 | 1231651.7275 | 1230227.8526 | 1227376.8032
OCGT | Double Bubble | Fast | 1265847.7876 | 1264423.8868 | 1261572.8747 | 1260148.9775 | 1257297.9618 | 1255874.0683 | 1253023.0488 | 1251599.159 | 1250175.2691 | 1247324.2423 | 1245900.3562 | 1243049.3256 | 1241625.4432 | 1240201.5608 | 1237350.5228 | 1235926.6442 | 1233075.6023 | 1231651.7275 | 1230227.8526 | 1227376.8032
OCGT | Techtopia | Fast | 1265847.7876 | 1264423.8868 | 1261572.8747 | 1260148.9775 | 1257297.9618 | 1255874.0683 | 1253023.0488 | 1251599.159 | 1250175.2691 | 1247324.2423 | 1245900.3562 | 1243049.3256 | 1241625.4432 | 1240201.5608 | 1237350.5228 | 1235926.6442 | 1233075.6023 | 1231651.7275 | 1230227.8526 | 1227376.8032
Solar PV | Groundhog Day | Expected | 1175000 | 1115093.9177 | 1107923.8179 | 1100753.7182 | 1093583.6184 | 1086413.5186 | 1079243.4188 | 1072073.319 | 1064903.2193 | 1024542.4558 | 984181.6924 | 950244.3927 | 918432.7554 | 882355.1499 | 850549.3248 | 821925.0686 | 795411.3567 | 781351.055 | 763180.1002 | 743974.2434
Solar PV | Cast Away | Expected | 1175000 | 1115093.9177 | 1107923.8179 | 1100753.7182 | 1093583.6184 | 1086413.5186 | 1079243.4188 | 1072073.319 | 1064903.2193 | 1024542.4558 | 984181.6924 | 950244.3927 | 918432.7554 | 882355.1499 | 850549.3248 | 821925.0686 | 795411.3567 | 781351.055 | 763180.1002 | 743974.2434
Solar PV | Double Bubble | Fast | 1218000 | 1168030.7692 | 1118061.5385 | 1075655.8742 | 972017.6307 | 882673.8175 | 856505.6085 | 832406.9748 | 809340.2755 | 796462.156 | 770282.6161 | 760419.8426 | 748553.7332 | 732648.209 | 725773.4939 | 707828.5449 | 704899.5992 | 695040.8635 | 690146.2095 | 679285.5396
Solar PV | Techtopia | Fast | 1218000 | 1168030.7692 | 1118061.5385 | 1075655.8742 | 972017.6307 | 882673.8175 | 856505.6085 | 832406.9748 | 809340.2755 | 796462.156 | 770282.6161 | 760419.8426 | 748553.7332 | 732648.209 | 725773.4939 | 707828.5449 | 704899.5992 | 695040.8635 | 690146.2095 | 679285.5396
Wind | Groundhog Day | Expected | 1849730.2359 | 1831870.63 | 1816069.7408 | 1800411.1474 | 1786768.9013 | 1773248.2965 | 1762629.2143 | 1752103.8381 | 1741670.934 | 1731329.2895 | 1721077.7132 | 1710009.1001 | 1687223.6631 | 1658235.2159 | 1648472.8086 | 1638793.6193 | 1629196.5893 | 1619680.6777 | 1610244.861 | 1600013.1457
Wind | Cast Away | Expected | 1849730.2359 | 1831870.63 | 1816069.7408 | 1800411.1474 | 1786768.9013 | 1773248.2965 | 1762629.2143 | 1752103.8381 | 1741670.934 | 1731329.2895 | 1721077.7132 | 1710009.1001 | 1687223.6631 | 1658235.2159 | 1648472.8086 | 1638793.6193 | 1629196.5893 | 1619680.6777 | 1610244.861 | 1600013.1457
Wind | Double Bubble | Fast | 1877927.3431 | 1862797.6022 | 1847804.6462 | 1811021.7391 | 1789809.2468 | 1765018.04 | 1745135.5373 | 1724498.097 | 1714188.1109 | 1690165.6866 | 1675539.4799 | 1660130.3617 | 1645760.8422 | 1629709.8662 | 1614696.0755 | 1601598.4953 | 1592160.877 | 1581038.2737 | 1572643.8147 | 1561696.3923
Wind | Techtopia | Fast | 1877927.3431 | 1862797.6022 | 1847804.6462 | 1811021.7391 | 1789809.2468 | 1765018.04 | 1745135.5373 | 1724498.097 | 1714188.1109 | 1690165.6866 | 1675539.4799 | 1660130.3617 | 1645760.8422 | 1629709.8662 | 1614696.0755 | 1601598.4953 | 1592160.877 | 1581038.2737 | 1572643.8147 | 1561696.3923

## New entrant params
New entrant technology parameters
Real June 2019 AUD
Source: | 2019 AEMO ISP Input and Assumptions workbook adjusted for WA inputs and pricing in recent developments.
OCGT FOM taken from AEMO Calculation Spreadsheet for Benchmark Reserve Capacity Price
https://www.aemo.com.au/-/media/Files/Electricity/WEM/Reserve_Capacity_Mechanism/BRCP/2020/2020-BRCP-calculation-spreadsheet-draft-report.xlsx
Technology | Scenario | FOM/VOM source from 2019 ISP | Economic life (years) | Technical life (years) | Auxiliaries / self load (%) | Heat rate (GJ/MWh) | FOM ($/MW) | VOM ($/MWh sent-out) | Round-trip efficiency | Maximum depth of discharge | Storage size degradation (%, annually)
CCGT | Groundhog Day | WA medium | 25 | 30 | 2.51% | 7.58 | 13545 | 9.6621 | - | - | -
CCGT | Cast Away | WA medium | 25 | 30 | 2.51% | 7.58 | 13545 | 9.6621 | - | - | -
CCGT | Double Bubble | WA medium | 25 | 30 | 2.51% | 7.58 | 13545 | 9.6621 | - | - | -
CCGT | Techtopia | WA medium | 25 | 30 | 2.51% | 7.58 | 13545 | 9.6621 | - | - | -
OCGT | Groundhog Day | WA medium | 25 | 30 | 1.53% | 11.75 | 13502.94 | 13.803 | - | - | -
OCGT | Cast Away | WA medium | 25 | 30 | 1.53% | 11.75 | 13502.94 | 13.803 | - | - | -
OCGT | Double Bubble | WA medium | 25 | 30 | 1.53% | 11.75 | 13502.94 | 13.803 | - | - | -
OCGT | Techtopia | WA medium | 25 | 30 | 1.53% | 11.75 | 13502.94 | 13.803 | - | - | -
Solar PV | Groundhog Day | WA medium | 25 | 30 | 2% | - | 18627.6 | 0 | - | - | -
Solar PV | Cast Away | WA high | 25 | 30 | 2% | - | 21660 | 0 | - | - | -
Solar PV | Double Bubble | WA low | 25 | 30 | 2% | - | 15595.2 | 0 | - | - | -
Solar PV | Techtopia | WA low | 25 | 30 | 2% | - | 15595.2 | 0 | - | - | -
Wind | Groundhog Day | WA medium | 25 | 30 | 2% | - | 46465.8 | 3.4959 | - | - | -
Wind | Cast Away | WA high | 25 | 30 | 2% | - | 54030 | 4.065 | - | - | -
Wind | Double Bubble | WA low | 25 | 30 | 2% | - | 38901.6 | 2.9268 | - | - | -
Wind | Techtopia | WA low | 25 | 30 | 2% | - | 38901.6 | 2.9268 | - | - | -
Battery - 2hrs | Groundhog Day | WA medium | 10 | 15 | - | - | 10320 | 0 | 81% | 80% | 1%
Battery - 2hrs | Cast Away | WA high | 10 | 15 | - | - | 12000 | 0 | 81% | 80% | 1%
Battery - 2hrs | Double Bubble | WA low | 10 | 15 | - | - | 8640 | 0 | 81% | 80% | 1%
Battery - 2hrs | Techtopia | WA low | 10 | 15 | - | - | 8640 | 0 | 81% | 80% | 1%
Battery - 4hrs | Groundhog Day | WA medium | 10 | 15 | - | - | 10320 | 0 | 81% | 80% | 1%
Battery - 4hrs | Cast Away | WA high | 10 | 15 | - | - | 12000 | 0 | 81% | 80% | 1%
Battery - 4hrs | Double Bubble | WA low | 10 | 15 | - | - | 8640 | 0 | 81% | 80% | 1%
Battery - 4hrs | Techtopia | WA low | 10 | 15 | - | - | 8640 | 0 | 81% | 80% | 1%

## Bespoke new entrant params
Bespoke new entrant parameters
Real June 2019 AUD
Technology | Capacity | Auxiliaries (%) | Economic life (years) | Technical life (years) | Round-trip efficiency | Maximum depth of discharge | Storage size degradation (%, annually) | Source
Compressed air storage | 250MW - 4hrs | - | 30-50 years | 30-50 years | 60% | 100% | 0% | Industry
Compressed air storage | 400MW - 4hrs | - | 30-50 years | 30-50 years | 60% | 100% | 0% | Industry
Compressed air storage | 250MW - 10hrs | - | 30-50 years | 30-50 years | 60% | 100% | 0% | Industry
Compressed air storage | 400MW - 10hrs | - | 30-50 years | 30-50 years | 60% | 100% | 0% | Industry
Pumped hydro | 300MW - 8hrs | 0.01 | 30 years | 50 years | 80% | 90% | 0% | Industry

## Indicative LCOE comparisons
Indicative levelised cost of energy for new technologies
Real June 2019 AUD/MWh
Technology capacity factors are indicative and not an input assumption to the model.
Calculation excludes connection CAPEX, locational factors and variable fuel transport costs.
WACC
7%
Technology | Capacity factor
Battery - 2hrs | 6.7%
Battery - 4hrs | 9.5%
CCGT | 70%
OCGT | 15% | [7 empty] | Fuel price (AUD/GJ)
Solar PV | 24% | [7 empty] | 2020-21 | 2021-22 | 2022-23 | 2023-24 | 2024-25 | 2025-26 | 2026-27 | 2027-28 | 2028-29 | 2029-30 | 2030-31 | 2031-32 | 2032-33 | 2033-34 | 2034-35 | 2035-36 | 2036-37 | 2037-38 | 2038-39 | 2039-40
Wind | 46% |  |  |  |  | Fuel price trajectory |  | GSOO (Base) | 5.7349 | 5.8424 | 6.1752 | 6.9791 | 7.6243 | 7.6499 | 7.8291 | 8.1291 | 8.4216 | 8.6291 | 8.7901 | 8.9216 | 9.0328 | 9.1291 | 9.2141 | 9.2901 | 9.3589 | 9.4216 | 9.4794 | 9.5328
[9 empty] | Fuel price (AUD/GJ) 2020-21: LCOE (AUD/MWh) | CAPEX (AUD/MW)
LCOE ($/MWh) | Label | Technology | Scenario | Economic lifetime (years) | FOM ($/MW) | VOM ($/MWh sent-out) | Capacity factor | Heat rate (GJ/MWh) | 2020-21 | 2021-22 | 2022-23 | 2023-24 | 2024-25 | 2025-26 | 2026-27 | 2027-28 | 2028-29 | 2029-30 | 2030-31 | 2031-32 | 2032-33 | 2033-34 | 2034-35 | 2035-36 | 2036-37 | 2037-38 | 2038-39 | 2039-40 | 2020-21 | 2021-22 | 2022-23 | 2023-24 | 2024-25 | 2025-26 | 2026-27 | 2027-28 | 2028-29 | 2029-30 | 2030-31 | 2031-32 | 2032-33 | 2033-34 | 2034-35 | 2035-36 | 2036-37 | 2037-38 | 2038-39 | 2039-40
_ | Battery - 2hrs - Groundhog Day | Battery - 2hrs | Groundhog Day | 10 | 10320 | 0 | 6.7% | - | 351.7673 | 336.8346 | 323.5111 | 308.5752 | 291.458 | 278.1482 | 268.5538 | 262.5783 | 258.6268 | 250.072 | 249.5856 | 249.5856 | 249.5856 | 249.0992 | 249.0992 | 249.0992 | 248.6129 | 248.6129 | 246.1603 | 242.2108 | 1377600 | 1316043.1433 | 1261119.9945 | 1199550.1631 | 1128988.3888 | 1074121.6633 | 1034570.6719 | 1009938.0368 | 993648.7136 | 958383.5192 | 956378.5328 | 956378.5328 | 956378.5328 | 954373.5463 | 954373.5463 | 954373.5463 | 952368.5599 | 952368.5599 | 942258.4903 | 925977.566
_ | Battery - 4hrs - Groundhog Day | Battery - 4hrs | Groundhog Day | 10 | 10320 | 0 | 9.5% | - | 348.9534 | 333.9148 | 320.4969 | 305.4552 | 288.2167 | 274.8126 | 265.1501 | 259.1323 | 255.1527 | 246.5373 | 246.0475 | 246.0475 | 246.0475 | 245.5577 | 245.5577 | 245.5577 | 245.0679 | 245.0679 | 242.5979 | 238.6204 | 1967157.7746 | 1879257.042 | 1800828.9793 | 1712909.7193 | 1612150.3241 | 1533802.8317 | 1477325.5956 | 1442151.1767 | 1418890.6738 | 1368533.3848 | 1365670.3442 | 1365670.3442 | 1365670.3442 | 1362807.3037 | 1362807.3037 | 1362807.3037 | 1359944.2631 | 1359944.2631 | 1345507.4875 | 1322258.978
_ | CCGT - Groundhog Day | CCGT | Groundhog Day | 25 | 13545 | 9.5073 | 70% | 7.58 | 76.8871 | 77.668 | 80.1567 | 86.2161 | 91.0724 | 91.2322 | 92.5565 | 94.7963 | 96.9792 | 98.518 | 99.7039 | 100.6667 | 101.4754 | 102.1713 | 102.7811 | 103.3231 | 103.81 | 104.2516 | 104.6551 | 105.0261 | 1550714.3363 | 1548272.2665 | 1545830.1966 | 1543388.1268 | 1540946.057 | 1538503.9872 | 1536061.9174 | 1533619.8475 | 1531177.7777 | 1528735.7079 | 1526293.6381 | 1523851.5683 | 1521409.4984 | 1518967.4286 | 1516525.3588 | 1514083.289 | 1511641.2191 | 1509199.1493 | 1506757.0795 | 1504315.0097
_ | OCGT - Groundhog Day | OCGT | Groundhog Day | 25 | 13502.94 | 13.5837 | 15% | 11.75 | 173.9107 | 175.0812 | 178.8057 | 188.1586 | 195.5532 | 195.7611 | 197.6807 | 201.1127 | 204.4564 | 206.7085 | 208.5069 | 209.866 | 211.0796 | 212.1184 | 212.9305 | 213.7305 | 214.3522 | 214.9967 | 215.5821 | 216.0241 | 1265847.7876 | 1264423.8868 | 1261572.8747 | 1260148.9775 | 1257297.9618 | 1255874.0683 | 1253023.0488 | 1251599.159 | 1250175.2691 | 1247324.2423 | 1245900.3562 | 1243049.3256 | 1241625.4432 | 1240201.5608 | 1237350.5228 | 1235926.6442 | 1233075.6023 | 1231651.7275 | 1230227.8526 | 1227376.8032
_ | Solar PV - Groundhog Day | Solar PV | Groundhog Day | 25 | 18627.6 | 0 | 24% | - | 56.8184 | 54.3733 | 54.0806 | 53.788 | 53.4953 | 53.2027 | 52.91 | 52.6174 | 52.3247 | 50.6774 | 49.03 | 47.6449 | 46.3465 | 44.8739 | 43.5758 | 42.4074 | 41.3253 | 40.7514 | 40.0097 | 39.2258 | 1175000 | 1115093.9177 | 1107923.8179 | 1100753.7182 | 1093583.6184 | 1086413.5186 | 1079243.4188 | 1072073.319 | 1064903.2193 | 1024542.4558 | 984181.6924 | 950244.3927 | 918432.7554 | 882355.1499 | 850549.3248 | 821925.0686 | 795411.3567 | 781351.055 | 763180.1002 | 743974.2434
_ | Wind - Groundhog Day | Wind | Groundhog Day | 25 | 46465.8 | 3.44 | 46% | - | 54.3612 | 53.9809 | 53.6444 | 53.311 | 53.0204 | 52.7325 | 52.5064 | 52.2823 | 52.0601 | 51.8399 | 51.6215 | 51.3858 | 50.9006 | 50.2833 | 50.0754 | 49.8693 | 49.6649 | 49.4623 | 49.2614 | 49.0435 | 1849730.2359 | 1831870.63 | 1816069.7408 | 1800411.1474 | 1786768.9013 | 1773248.2965 | 1762629.2143 | 1752103.8381 | 1741670.934 | 1731329.2895 | 1721077.7132 | 1710009.1001 | 1687223.6631 | 1658235.2159 | 1648472.8086 | 1638793.6193 | 1629196.5893 | 1619680.6777 | 1610244.861 | 1600013.1457

## Candidate technologies by node
Candidate technologies by node
This sheet contains the list of new entrant candidate technologies at each node. Bespoke new entrant candidates will be considered individually.
"No" indicates that a technology is not considered a candidate at that node.
Node | CCGT | OCGT | Solar PV | Wind | Battery - 2hrs | Battery - 4hrs
NC | Yes | Yes | Yes | Yes | Yes | Yes
MW | Yes | Yes | Yes | Yes | Yes | Yes
NB | Yes | Yes | Yes | No | Yes | Yes
MN | Yes | Yes | No | No | Yes | Yes
MT | No | No | No | No | Yes | Yes
MS | Yes | Yes | Yes | No | Yes | Yes
ME | Yes | Yes | Yes | Yes | Yes | Yes
EC | Yes | Yes | Yes | Yes | Yes | Yes
EG | Yes | Yes | Yes | Yes | Yes | Yes
SW | Yes | Yes | Yes | Yes | Yes | Yes
SE | Yes | Yes | Yes | Yes | Yes | Yes

## Conn CAPEX by node
Connection CAPEX cost multipliers by node
This sheet contains locality factors which vary depending on the node that the generation is connected to.
The locality factors will be directly multiplied to the connection cost.
Node | Factor
NC | 1.1
MW | 1.25
NB | 1.1
MN | 1
MT | 1
MS | 1
ME | 1.2
EC | 1.2
EG | 1.35
SW | 1.07
SE | 1.15

## Wind capacity factors
Representative nodal wind farm capacity factors
Existing wind generators are modelled with capacity factors according to past performance.
Node | Capacity factor (new entrants)
NC | 46%
MW | 44%
NB | -
MN | -
MT | -
MS | -
ME | 38%
EC | 38%
EG | 42%
SW | 42%
SE | 44%