# Bore replacement information template

When replacing a bore, the following templates need to be completed and submitted to DWER Asset Management Group measurement@water.wa.gov.au.

| ## Location and identification |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Owner |  |  |  |  | Department of Water and Environmental Regulation |  |  |  |  |  |  |  |  |  |
| Location |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Mga ref |  |  |  |  | Zone |  | Easting |  |  |  | Northing |  |  |  |
| Survey accuracy |  |  |  |  | Surveyed ±0.1m (horizontal) ±0.003m (vertical) |  |  |  |  |  |  |  |  |  |
| Purpose / status |  |  |  |  | Monitoring bore |  |  |  |  |  |  |  |  |  |
| Dwer site ref |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| ## Bore construction |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Drilled by |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Drill method |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Drill date |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Elevation |  |  | Surveyed levels (m AHD) Survey method |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  | Ground level |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  | Top of headworks |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  | Top of PVC casing |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  | Cement block |  |  |  |  |  |  |  |  |  |  |  |
| Drilled diameter |  |  |  |  |  |  |  | Depth (m bgl) |  |  |  |  |  |  |
|  |  |  | Surface Casing |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  | Pilot/Main hole |  |  |  |  |  |  |  |  |  |  |  |
| Depth intervals (m bgl) |  |  | Type |  |  |  |  |  | ID (mm) |  | OD (mm) |  |
|  |  |  | 12” Galvanised steel bore cover |  |  |  |  |  |  |  |  |  |
|  |  |  | Mild steel surface casing 10” NB; 9.3 mm WT |  |  |  |  |  |  |  |  |  |
|  |  |  | Blank PVC casing 100 ND: Class 12, Wall thickness 6.3 mm, bell joins |  |  |  |  |  |  |  |  |  |
|  |  |  | Screen interval PVC casing 100 ND, 1 mm aperture slots: Class 12, |  |  |  |  |  |  |  |  |  |
|  |  |  | Blank PVC casing 100 ND, with PVC end cap: Class 12, |  |  |  |  |  |  |  |  |  |

## Annulus fill

| Depth intervals (m bgl) |  | Fill type | Cement (SG) |
| --- | --- | --- | --- |
| 0 | 6 | Steel surface casing Cement grouting of 10” NB steel surface casing Tremmie Pressure | 1.6 |
|  |  | Natural Pack (Backfilled cuttings) | NA |
|  |  | Bentonite Seal (Pellets) | NA |
|  |  | Graded Gravel Pack (1.6 – 3.2 mm) | NA |

## Geological data

| Sampling interval | Drill cutting samples at 1 m intervals |
| --- | --- |
| Logged by |  |

## Stratigraphic summary

| Depth (m bgl) |  | Formation |
| --- | --- | --- |

## Hydrogeological summary

| Aquifer screened |  |
| --- | --- |
| Groundwater level |  |
| Groundwater level date |  |

## Bore development

| Bore development method |  |
| --- | --- |
| Duration |  |
| Airlift rate |  |
| Water level |  |

## Airlift water quality

| pH |  |
| --- | --- |
| Conductivity (µs/cm) |  |
| Temperature |  |

## Lithology log

| From | To | Lithology | Lithology description |
| --- | --- | --- | --- |
| 0 | 2 | SANDY CLAY | Colour, grain size, sorting, sphericity, mineralogy and other observations |
| 2 | 6 | SAND | Example: Pale beige/white, fine to coarse grained, moderately-well sorted, sub-angular to rounded, quartz, trace iron, minor iron staining. |
|  |  | CLAY |  |
|  |  | LIMESTONE |  |
|  |  | SILT |  |
|  |  | SILTY SAND |  |
| End of hole at XX m bgl. |  |  |  |

## Location diagrams (examples)

### Local map showing location of bore

### Photograph of completed headworks for groundwater monitoring bore